VILLAGE OF AMESVILLE

HOME OF THE COONSKIN LIBRARY

P.O. Box 190 Amesville, Ohio 45711

740-448-2411

AV.01.01. - Purpose.

### The purpose of this title is to safeguard the health, safety, and general welfare of the residents of the Amesville, Ohio, and all those who receive, or will receive, the benefits of the municipal water system by establishing a wellhead protection plan. Although the wellfield for the Village of Amesville is outside the Village boundaries, Ohio Revised Code allows for the monitoring and if necessary prosecution for contamination to the water sources according to ORC Title VII Chapter 743 Section 25:

### 743.25 Jurisdiction of municipal corporations to prevent water pollution.

No person shall pollute a running stream, the water of which is used for domestic purposes by a municipal corporation, by putting therein a putrid or offensive substance, injurious to health. The director of public service of a city or board of trustees of public affairs of a village shall enforce this section. The jurisdiction of a municipal corporation to prevent the pollution of its water supply and to provide a penalty therefor shall extend twenty miles beyond the municipal corporation limits. Effective Date: 10-01-1953

AV.01.02. - Designation of the wellhead protection area and buffer zone.

This section describes the Wellhead Protection Plan maps and their maintenance.

- The Amesville Public Water System shall maintain maps clearly designating the wellhead protection area, including the one-year capture zone, five-year capture zone and buffer zone, which are vulnerable to contamination and in which there is a risk that contaminants can be transported or otherwise find their way into the village's present and future water supply wells and wellfields. These maps shall be available for inspection at all times during normal working hours. The Wellhead Protection Area shall be identical to the EPA assessed 5 year travel zone.

(See map on page 11)

(B) The administering authority (Amesville Mayor) or his/her designee(s) shall recommend to the Village Council the delineation of the WHPA and WHPBZ as overlay zones. Any future modifications shall also be recommended to the Council by the administering authority.

AV.01.03. – Recommended Restrictions in the wellhead protection area and buffer zone. This section establishes the standards (rules) to be followed by all existing and new facilities.

(A) Regulated substances. Substances that are subject to regulation include the following:

(1) Chemicals, mixtures and other substances or components thereof that are known or suspected (as classified by EPA standards) carcinogens, toxic or highly toxic agents, corrosives, or substances known or suspected (as classified by EPA standards) to be a health hazard, or require monitoring as a primary or secondary contaminant under the Safe Drinking Water Act of 1986 (Public Law 93-523) as amended;

(2) Chemicals which are regulated by SDWA, TSCA, RCRA, OSHA, CERCLA, SARA, FIFRA or other state and/or federal environmental laws and regulations, or for which there is scientific evidence that acute or chronic health effects can result from exposure including carcinogens, toxic and highly toxic agents, reproductive toxins, endocrine disruptors, irritants, corrosives, sensitizers, hepatotoxins, nephrotoxins, neurotoxins, agents which act on the hematopoietic system, obnoxious substances causing odor and taste problems, and agents which damage the lungs, skin, eyes, or mucous membranes;

(3) Petroleum or petroleum-based products, including fuels, fuel additives, lubricating oils, motor oils, hydraulic fluids, and other similar petroleum-based products;

(4) Antifreeze, transmission fluids, brake fluids, and coolants;

(5) Solvents (raw or spent), including cleaning solvents, degreasing solvents, stripping compounds, dry cleaning solvents, painting solvents, and/or hydrocarbon or halogenated hydrocarbon solvents;

(6) Inks, printing and photocopying chemicals and waste rags used for solvent-based cleaning organic pigments;

(7) Liquid storage batteries;

(8) Non-aerosol, non-latex-based paints, primers, thinners, dyes, stains, wood preservatives;

(9) Corrosion and rust prevention solutions;

(10) Industrial and commercial cleaning supplies, including drain cleaners;

(11) Sanitizers, disinfectants, bactericides, and algaecides;

(12) Pesticides, and fertilizers;

(13) Acids and bases with a pH less than or equal to two or greater than or equal to 12.5;

(14) Aqueous metal(s) and metallic solutions;

(15) Road salt (only when stored in WHPA or WHPBZ); or

(16) Any other material containing one percent or more by weight of a hazardous raw or waste product that is regulated as an "extremely hazardous substance" under Section 302 of the Emergency Planning and Community Right-of-Know Act (EPCRA) (OAC, Chapter 3750-20); as a hazardous substance under the Comprehensive Environmental Response, Compensation and Liability Act of 1980 (CERCLA) (OAC, Chapter 3750-30) or as a "toxic chemical" regulated under Section 313 of the EPCRA (OAC 3745-100) and all OSHA regulations section(A)(1).

(D) Recommended restricted land uses/activities/facilities in the wellhead protection area and buffer zone. The following activities, businesses, operations and/or land uses are highly discouraged in the WHPA and WHPBZ:

(1) Commercial junk and salvage yards, commercial sanitary/solid waste landfills, and construction and demolition debris landfills.

(2) Disposal of shingles, asphalt, and/or lead-based or lead-containing materials.

(3) Use of fly ash, fly ash containing materials, or other ash material for fill material.

(4) Manufacturing, processing or recycling of regulated substances as the principal activity.

(5) Commercial establishments for motor vehicle repair/service shops and/or body repair.

(6) Trucking or bus terminals.

(7) Primary metal product industries, metal plating, polishing, etching, engraving, anodizing, or similar processes.

(8) Lawn, garden, pesticide, and agricultural services with onsite bulk mixing of fertilizers, pesticides, and other industry-related chemicals for commercial application.

(9) Use of oil, waste oil, or similar liquid petroleum-type products for dust, pest, or weed suppression.

(10) Dry cleaning facilities with onsite dry cleaning service.

(11) Land application of sewage sludge, pesticides, fertilizers (see subsection (F)(1) for provisions concerning pesticide, fertilizer applications).

(12) Any Class injection wells.

(13) Underground storage tanks.

AV.01.04. - General provisions for the wellhead protection area and buffer zone.

This section describes the procedures of how the standards will be applied.

Facility registration. All new facilities within the WHPA or WHPBZ must register with the administering authority unless they are for agricultural purposes and deemed to pose no risk to the water supply.

- Two-year registration for facilities with regulated substances. Facility registration is required once every two years for any facility with onsite storage or use of regulated substances or for any facility determined by the administering authority to be a risk to the water supply (i.e., a potential pollution source) and therefore subject to regulation under this title.

(2) Six-year registration for facilities determined to be minimal risk. If the administering authority or his/her designee(s) determines that certain facilities do not pose a risk to the Athens water supply, they will be so notified in writing, and will subsequently need to register every six years, or when they have a change of use or ownership. Notwithstanding, such notification will not exempt such facilities from these regulations if the nature of their activities changes in the future.

(3) Registration shall be the responsibility of the facility owner or operator and shall be filed no later than December 31.

(4) Registration forms will be prescribed by the administering authority and will include, but not necessarily be limited to, the following:

a. Name, address, and phone number of the registered facility.

b. Facility operator name and number.

c. Emergency contact, address and phone.

d. Primary and where applicable, secondary business activities at the facility, and a brief description of how regulated substances are used at the facility.

e. The types, quantity, and location of regulated substances stored or otherwise used onsite. Where the regulated substance is identified by a common trade name or mixture, the primary chemical components must be identified.

f. MSDS sheets for all regulated substances that will be stored at the facility.

g. The manner of regulated substance storage.

h. A general description of any secondary containment or other spill containments and or spill prevention measures used at the facility for regulated substance storage units or storage areas.

i. A general description of regulated substance waste disposal methods. Where applicable, the facility's hazardous waste generator identification number must be provided.

j. Where applicable, location of any groundwater monitoring equipment on the facility's property.

k. Where applicable, the location of any dry wells on the facility property.

l. Where applicable, the type of septic system used onsite and type of waste treated.

m. Employee training logs as required by subsection (D)(5), if the facility is a nonconforming but regulated facility.

n. The current spill prevention and control plan, including any potential updates as required by subsection (D)(4), if the facility is a nonconforming but regulated facility.

(B) Applicability. The administering authority will determine the applicability of this title. Facility registration is the responsibility of the facility owner and operator.

(C) Compliance with existing, federal, state, and local regulations. Facility operators subject to regulation under this title must comply fully with all existing applicable federal, state and local regulations in addition to all applicable requirements established herein.

(F) Restrictions and plan review for new facilities and/or expansions in the WHPA and WHPBZ.

(1) The Village of Amesville recommends that no new facilities that practice prohibited activities should locate in the WHPA or WHPBZ.

(2) Any new facility and/or expansions that will be handling regulated substances shall submit all facility design plans and plans for use and storage of regulated substances to the administering authority for review. Such plans shall include:

a. A narrative report for the proposed facility including:

1. Description of proposed operations including chemicals/products used or generated, chemical/product storage area descriptions, waste generation quantities, equipment cleaning/maintenance procedures;

2. Methods and locations of receiving, handling, storing, shipping and disposal chemicals/products and wastes; and

3. Spill or release response measures and reporting.

b. A site plan including:

1. All existing and proposed structures;

2. Paved and unpaved areas;

3. Utility lines (inside and outside) including sanitary sewers, storm sewers, storm retention structures;

4. Floor drain locations and outlets;

5. Chemical/product and waste storage locations;

6. Liquid transfer areas;

7. Slope contours of finished grade at two-foot intervals.

c. Proposed containment area detail drawings including, area, heights, materials, and specifications.

d. Professional review by expert/consultant selected by the city with the cost to be borne by the developer or owner.

e. Proof of liability insurance or bond to cover cost of cleanup of possible contamination.

(3) All secondary containment systems required for new facilities and/or expansions in the WHPA or WHPBZ shall be:

a. Constructed of or lined with materials compatible with the regulated substance stored.

b. Constructed of materials of sufficient thickness, density, and composition so as not to be weakened from contact with the regulated substance or precipitation.

c. Free of cracks, joints, gaps, or other imperfections which would allow leakage through the containment.

d. Designed to contain the total volume of regulated substance stored.

(4) The administering authority or his/her designee(s) will review all plans submitted in compliance with subsection (F) and should make any recommendations within 45 days of receipt of such plans.

(G) Personal storage facilities. Regulated substances should not be stored in any new or existing personal storage facilities. The facility operator shall:

(1) Provide a list of regulated substances to all lessees.

(2) Require all lessees of personal storage units to sign a form stating that they have been informed of the relevant sections of this title and agreeing to not store regulated substances in the storage unit. The form will be prescribed by the administering authority and a template will be provided to facility operators.

(3) Keep signed forms in her/his possession for a period of one year following termination of the rental agreement. All forms must be made available for inspection to the administering authority upon request.

AV.01.05. - Management of specific potential pollution sources in the wellhead protection area and buffer zone. This section establishes specific standards for specific source categories that go beyond the general provisions already established in this title.

(1) Land application and storage: it is suggested that the application of fertilizers and pesticides is permitted, but seek to use ecological least-toxic biological materials and physical measures in place of regulated substances.

(2) Any spills of fertilizers, pesticides and/or regulated substances must be reported to the administering authority immediately upon detection of the spill.

(A) Fill operations. All fill operations shall use clean, hard fill materials and shall be 	reviewed by the administering authority prior to the commencement of fill activities.

(1) Fill dirt shall not contain fly ash, sewage sludge, asphalt, shingles, construction debris or any other material prohibited by any local, state, or federal regulation.

(2) All fill operations must comply with local, state, and federal law including, but not limited to, ORC Chapter 3714, and OAC Chapter 3745. In accordance with OAC Chapter 3745-400-05, a written notice of "intent to fill" shall be filed with the Athens-County Health Department as required by this rule and shall also be filed with the administering authority. Such notice is required to be filed seven days prior to the commencement of fill operations.

(3) All fill sites shall have limited, controlled access, and be posted with signage indicating: "Wellhead protection area. Up to $1,000.00 fine for illegal dumping or fill materials. No asphalt, shingles, construction debris, or any other prohibited material." The site must be secured during unauthorized times with emergency contact information posted.

(4) Any violation of this section shall be subject to the penalty provisions of Section AV.01.06 of this title.

(B) Household sewage treatment systems (septic systems). The Athens-County Health Department (ACHD) governs residential sewage treatment systems. All residential sewage treatment systems shall be permitted in writing by the ACCHD and maintained by the owner in accordance with ACHD regulations. Such systems shall be periodically pumped out at intervals recommended by the ACCHD. Commercial sewage treatment systems are governed by the Ohio Environmental Protection Agency. All commercial septic systems shall be permitted in writing by the Ohio Environmental Protection Agency and shall be maintained in accordance with state law.

(C) Surface water impoundment. Any ponds or other surface impoundment of water for any reason or purpose within the WHPA, must be managed to exclude contamination by any toxic or hazardous substance. If determined by the administering authority that an impermeable liner is necessary to prevent contamination of groundwater from the pond, then the owner of the land shall be responsible for providing such a liner. Liners must be repaired or replaced as needed to function as a barrier to potential hazardous substances.

AV.01.06. - Inspections of the wellhead protection plan.

Inspections.

(1) The administering authority or his/her designee(s) is appointed to administer the wellhead protection plan described in this title. Subject to applicable provisions of law, the administering authority or his/her designee(s) bearing proper identification and following 24-hour notice to the owner or operator may enter any facility and adjoining grounds for purposes of making such inspections, except in emergency situations.

(2) The facility operator or designee must accompany the inspector during the inspection to help ensure the accuracy of the inspection and the safety of the persons involved.

(3) In the event of an emergency situation, the administering authority or his/her designee(s) shall have the right to immediate access to all facilities and adjoining grounds in order to protect the public health and safety.

(4) The administering authority or his/her designee(s) may conduct unscheduled inspections of recreational areas to check for compliance with BMPs and to determine that fertilizers, herbicides and pesticides are being used in correct amounts.

(5) If the owner or operator refuses access or entry the administering authority or his/her designee shall apply to a court of competent jurisdiction with supporting affidavits for an appropriate warrant or other process to enter the property and adjoining grounds, and the owner or operator shall bear the costs of the court action.

AV.01.07. - Definitions.

(A) "Abandoned well." A well whose use has been permanently discontinued or that is in a state of disrepair such that it cannot be used for its intended purpose.

(B) "Aboveground storage tank (AST)." Any container and supporting structure, excluding pipes connected thereto, which is used to store regulated substances when the storage container is located on or above the existing ground or floor elevation and the integrity can be visually evaluated.

(C) "Aquifer." A geologic formation that contains enough saturated permeable material to yield significant quantities of water.

(D) "Administering authority." The Mayor of Amesville or his/her designee(s).

(E) "Baseline quantity threshold (BQT)." The amount of a regulated substance that when used or stored at a facility in quantities equal to or in excess of the quantities specified herein are regulated by this title.

(F) "Best management practices (BMPS)." This term, as it applies to wellhead protection, refers to schedules of activities, prohibitions of practices, maintenance procedures, and other management practices to prevent or reduce the pollution of the environment. BMPs also include treatment requirements, operating procedures, and practices to control runoff, spills, and leaks.

(G) "Dry well." A type of drainage well used for underground disposal of stormwater runoff from paved areas, which include parking lots, streets, highways, residential subdivisions, building rooftops, agricultural areas, and industrial areas.

(H) "Facility." Any premises located in the wellhead protection area the use of which could impact the use of the underlying or adjacent aquifer for public drinking water supply. This definition includes, but is not limited to, buildings except private residential homes, storage areas, industries, businesses, research facilities, institutions, recreational areas, mining or processing operations, farming operations, and planned unit developments with common maintenance areas.

(I) "Facility operator or owner." This term, as it applies to wellhead Protection, refers to the person or designee in possession or control of a facility or regulated substance storage unit, regardless of whether such person is the owner, lessee, or other possessor. The term also includes contractors or site managers at construction sites who are responsible for the general management of regulated substances located onsite.

(J) "Five-year capture zone." The area located within the boundaries defined by the five-year time of travel (TOT) contour; these boundaries delineate the locations from which it should take water five years to reach the water supply wells.

(K) "Groundwater." Any water below the surface of the earth in a zone of saturation.

(L) "Materials safety data sheet." A document listing the properties of a particular substance, proper handling and disposal and its health effects.

(M) "New facility" or "new storage unit." This term, as it applies to wellhead protection, refers to any facility or regulated substance storage unit beginning operation after the effective date of this title.

(N) "Nonconforming but regulated facility." Any existing facility or regulated substance storage unit in operation before the effective date of this title that would otherwise be prohibited within the designated WHPA.

(O) "One-year capture zone." The area located within the boundaries defined by the one-year time of travel (TOT) contour; these boundaries delineate the locations from which it should take water one year or less to reach the water supply wells.

(P) "Pesticides." Any agent (including herbicides, fungicides, and insecticides) used to kill insects, rodents, plants, or other living organisms.

(Q) "Recreational areas." Land areas that are used for, but not limited to, athletic fields, driving ranges, golf courses, parks, and sod farms.

(R) "Regulated substances." Substances identified in subsection (D) of this section which are regulated under the wellhead protection program.

(S) "Spill response plan." Detailed plans for control, containment, recovery, and cleanup of hazardous or toxic material releases.

(T) "Stormwater treatment practices (STPs)." Measures, either structural or nonstructural, that are determined to be the most effective, practical means of preventing or reducing point source or nonpoint source pollution to stormwater runoff.

(U) "Underground storage tank (UST)." Refers to one or any combination of tanks, including the underground pipes connected thereto, that are used to contain an accumulation of regulated substances the volume of which, including the volume of the underground pipes connected thereto, is ten percent or more beneath the surface of the ground. For the purposes of this title, the term does not include: pipelines, storm[water] and wastewater collection systems, flow through process tanks, septic tanks, and liquid traps.

(V) "Well." Any excavation, regardless of design or method of construction, used for the purpose of removing ground water from an aquifer, or for the purpose of determining the quality, quantity or level of ground water on a continuing basis.

(W) "Wellfield." A tract of land that contains a number of wells for supplying drinking water.

(X) "Wellhead protection area (WHPA)." The surface and subsurface area supplying water to wells or wellfields through which contaminants are likely to move and reach wells or wellfields within a period of one year (one-year capture zone) or five years (five-year capture zone).

(Y) "Wellhead protection buffer zone (WHPBZ)." The surrounding area from which surface drainage enters the five-year capture zone as delineated by a line drawn along the drainage divide formed by the hills that surround the five-year capture zone.

(Z) "Wellhead protection program." A program established by Section 1428 of the Safe Drinking Water Act of 1986 (Public Law 93-523) designed to minimize the potential for contamination of groundwater being used as a source of public drinking water.

AV.01.08. - Acronyms.

(A) BMPS—Best management practices.

(B) CERCLA—Comprehensive Environmental Response Compensation and Liability Act.

(C) FIFRA—Federal Insecticide Fungicide Rodenticide Act.

(D) MSDS—Materials safety data sheet.

(E) OSHA—Occupational Safety and Health Act.

(F) RCRA—Resource Conservation and Recovery Act.

(G) SARA—Superfund Amendment and Reauthorization Act.

(H) SDWA—Safe Drinking Water Act.

(I) TSCA—Toxic Substance Control Act.

(J) UST—Underground storage tank.

(K) WHPA—Wellhead protection area.

(L) WHPBZ—Wellhead protection buffer zone.